Digital Scale Test Form

Brand:________________Model:_________________

DATE:______________________

Turn on scale and allow to warm up for 2 minutes.  (With some scales it may be necessary to defeat auto shutoff to do this.)  Calibrate the scale according to the manufacturer’s instructions.  Use a known good balance beam scale to weight the test weights or use a set of commercial scale calibration weights.

# REPEATABILITY TEST

Repeatedly weigh a known nominal weight of 5, 10, 20, 40, 80, and 180 grains, with approximately 10 seconds between each individual weighing.  Place weight in center of scale pan.

|  | Actual weight | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 5 |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |  |  |
| 40 |  |  |  |  |  |  |  |  |  |  |  |
| 80 |  |  |  |  |  |  |  |  |  |  |  |
| 180 |  |  |  |  |  |  |  |  |  |  |  |

# OFF CENTER CONSISTENCY TEST

Repeatedly weigh a known nominal weight of 5, 10, 20, 40, 80, and 180 grains, with approximately 10 seconds between each individual weighing.  Place at the edges of the pan varying position with each weighing.

|  | Actual weight | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 5 |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |  |  |
| 40 |  |  |  |  |  |  |  |  |  |  |  |
| 80 |  |  |  |  |  |  |  |  |  |  |  |
| 180 |  |  |  |  |  |  |  |  |  |  |  |

# LOAD CELL DROOP TEST

Place known weight of nominal weight of 5, 10, 20, 40, 80, and 180 grains in center of pan and note weight every 30 seconds

|  | Actual weight | 0 | :30 | 1: | 1:30 | 2:0 | 2:30 | 3: | 3:30 | 4: | 4:30 | 5: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |  |  |  |
| 40 |  |  |  |  |  |  |  |  |  |  |  |  |
| 80 |  |  |  |  |  |  |  |  |  |  |  |  |
| 180 |  |  |  |  |  |  |  |  |  |  |  |  |

|  | Actual weight | 5:30 | 6 | 6:30 | 7 | 7:300 | 8 | 8:30 | 9 | 9:30 | 10 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |  |  |  |
| 40 |  |  |  |  |  |  |  |  |  |  |  |  |
| 80 |  |  |  |  |  |  |  |  |  |  |  |  |
| 180 |  |  |  |  |  |  |  |  |  |  |  |  |

DRIFT TEST

Weigh nominal weights of 5, 10, 20, 40, 80, and 180 grains in center of pan, once every minute.

|  | Actual weight | 0 | 1 | 2 | 3 | 4 | 5 | 67 | 7 | 8 | 9 | 10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |  |  |  |
| 40 |  |  |  |  |  |  |  |  |  |  |  |  |
| 80 |  |  |  |  |  |  |  |  |  |  |  |  |
| 180 |  |  |  |  |  |  |  |  |  |  |  |  |

# COMMENTS